## Form
Rev. 2021-06
Seat height configurator for the S3 series and Bambino 3.
[17 empty] | höjd bak | höjd fram |  |  | Höjd jämfört med 24" | 20 | 22 | 24 | 25 | 26
[16 empty] | std | 425 | 470 |  |  | Drivhjul | -45.6775 | -24.9873 | 0 | 7 | 25.3056
[12 empty] | Stol | 1 | 100000
[12 empty] | drivhjul | 3 | 24000 | 24 |  | 0 | 165 |  |  | U2 | S2
[12 empty] | Länkhjul | 2 | 500 |  |  |  | 165 | 0 | 0 | 470 | 470
[6 empty] | height | [5 empty] | Höjning | 8 | 0 |  | höjd efter höjning | 425 | 470 |  |  | 119 | 173.5
[6 empty] | rear | front |  | models below, has different |  |  |  |  | 124500 | [6 empty] | 351 | 296.5
[5 empty] | original | 425 | 470 |  | measurement then chart at left | [7 empty] | 0 | 0
| Swing | [8 empty] | height rear | heigth front | Bakaxel inkl B3 |  | 0
| Swing Short |  |  |  | after raise | 425 | 470 |  | S3 Large | +25 | +25
| Swing Long | [7 empty] | Short Low | -25 | -25
[5 empty] | different | 0 | 0 |  | S3 0gr | +25 | -27 | [6 empty] | s3
U3
| Y3 |  |  |  | acceptable difference between
| Y3 Kort |  |  | "L" light models | rear and front = -5mm +10mm |  |  | 0
can not be raised
| Swing 0⁰ | [16 empty] | 0 | 0 | 0 | #VALUE! | 0 | 0 | 0 | 0 | 0
Bambino 3 Bambino 3 Short
S3 Short ABD
Model |  | Rear wheel | Castor | Raise
S3 |  | 24 " | 120 mm | 0 mm
Height fork
|  | 2100070 | Fork 105, wheel 120, axle 3 |  |  |  |  | 165
For Large: 4353085 Anti-tip S3 Large +30 pair
|  | Standard | Standard rearaxle
Chair
Rear wheel
Castor
Rearaxle raise
10
20
30
40
50
60
70
0 no raise

## Datasheet forks (hidden)
1 | [9 empty] | skillnad | höjd önskad | höjning | drivhjul | chassi
120300 | 2100010 | Fork 75, wheel 90, axle 3 | std | anti-tip wheel upsidedown |  |  |  |  | 120 | 1 | 119 | 0 | -46 | 165
120310 | 2100030 | Fork 90, wheel 90, axle 3 | std | anti-tip wheel upsidedown |  |  |  |  | 135 | 6 | 129 | 10 | -46 | 165
120320 | 2100030 | Fork 90, wheel 90, axle 3 | std | anti-tip wheel upsidedown |  |  |  |  | 135 | -4 | 139 | 20 | -46 | 165
120330 | 2100060 | Fork 105, wheel 90, axle 3 | std | anti-tip wheel upsidedown |  |  |  |  | 150 | 1 | 149 | 30 | -46 | 165
120340 | 2100090 | Fork 120, wheel 90, axle 3 | std | std |  |  |  |  | 165 | 6 | 159 | 40 | -46 | 165
120350 | 2100090 | Fork 120, wheel 90, axle 3 | std | std |  |  |  |  | 165 | -4 | 169 | 50 | -46 | 165
120360 | 2100067 | Fork 105, castor S3 90, axle 33 | std | std |  |  |  |  | 180 | 1 | 179 | 60 | -46 | 165
120370 | 2100097 | Fork 120, castor S3 90, axle 33 | std | std |  |  |  |  | 195 | 6 | 189 | 70 | -46 | 165
120500 | no go | will be too high in front, with these castors | std | std | [6 empty] | 119 | 0 | -46 | 165
120510 | 2100020 | Fork 75, wheel 120, axle 3 | std | anti-tip wheel upsidedown |  |  |  |  | 135 | 6 | 129 | 10 | -46 | 165
120520 | 2100020 | Fork 75, wheel 120, axle 3 | std | anti-tip wheel upsidedown |  |  |  |  | 135 | -4 | 139 | 20 | -46 | 165
120530 | 2100040 | Fork 90, wheel 120, axle 3 | std | anti-tip wheel upsidedown |  |  |  |  | 150 | 1 | 149 | 30 | -46 | 165
120540 | 2100070 | Fork 105, wheel 120, axle 3 | std | std |  |  |  |  | 165 | 6 | 159 | 40 | -46 | 165
120550 | 2100070 | Fork 105, wheel 120, axle 3 | std | std |  |  |  |  | 165 | -4 | 169 | 50 | -46 | 165
120560 | 2100100 | Fork 120, wheel 120, axle 3 | std | std |  |  |  |  | 180 | 1 | 179 | 60 | -46 | 165
120570 | 2100077 | Fork 105, castor S3 120, axle 33 | std | std |  |  |  |  | 195 | 6 | 189 | 70 | -46 | 165
120600 | no go | will be too high in front, with these castors | std | std | [6 empty] | 119 | 0 | -46 | 165
120610 | no go | will be too high in front, with these castors | std | std | [6 empty] | 129 | 10 | -46 | 165
120620 | no go | will be too high in front, with these castors | std | std | [6 empty] | 139 | 20 | -46 | 165
120630 | no go | will be too high in front, with these castors | std | std | [6 empty] | 149 | 30 | -46 | 165
120640 | 2100050 | Fork 90, wheel 150, axle 3 | std | std |  |  |  |  | 165 | 6 | 159 | 40 | -46 | 165
120650 | 2100050 | Fork 90, wheel 150, axle 3 | std | std |  |  |  |  | 165 | -4 | 169 | 50 | -46 | 165
120660 | 2100080 | Fork 105, wheel 150, axle 3 | std | std |  |  |  |  | 180 | 1 | 179 | 60 | -46 | 165
120670 | 2100110 | Fork 120, wheel 150, axle 3 | std | std |  |  |  |  | 195 | 6 | 189 | 70 | -46 | 165
122300 | 2100030 | Fork 90, wheel 90, axle 3 | std | std |  |  |  |  | 135 | -5 | 140 | 0 | -25 | 165
122310 | 2100060 | Fork 105, wheel 90, axle 3 | std | std |  |  |  |  | 150 | 0 | 150 | 10 | -25 | 165
122320 | 2100090 | Fork 120, wheel 90, axle 3 | std | std |  |  |  |  | 165 | 5 | 160 | 20 | -25 | 165
122330 | 2100090 | Fork 120, wheel 90, axle 3 | std | std |  |  |  |  | 165 | -5 | 170 | 30 | -25 | 165
122340 | 2100067 | Fork 105, castor S3 90, axle 33 | std | std |  |  |  |  | 180 | 0 | 180 | 40 | -25 | 165
122350 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 5 | 190 | 50 | -25 | 165
122360 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | -5 | 200 | 60 | -25 | 165
122370 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 210 | 70 | -25 | 165
122500 | 2100020 | Fork 75, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | -5 | 140 | 0 | -25 | 165
122510 | 2100040 | Fork 90, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | 0 | 150 | 10 | -25 | 165
122520 | 2100070 | Fork 105, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 5 | 160 | 20 | -25 | 165
122530 | 2100070 | Fork 105, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | -5 | 170 | 30 | -25 | 165
122540 | 2100100 | Fork 120, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 0 | 180 | 40 | -25 | 165
122550 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 5 | 190 | 50 | -25 | 165
122560 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | -5 | 200 | 60 | -25 | 165
122570 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | 0 | 210 | 70 | -25 | 165
122600 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 140 | 0 | -25 | 165
122610 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 150 | 10 | -25 | 165
122620 | 2100050 | Fork 90, wheel 150, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 5 | 160 | 20 | -25 | 165
122630 | 2100050 | Fork 90, wheel 150, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | -5 | 170 | 30 | -25 | 165
122640 | 2100080 | Fork 105, wheel 150, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 0 | 180 | 40 | -25 | 165
122650 | 2100110 | Fork 120, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 5 | 190 | 50 | -25 | 165
122660 | 2100110 | Fork 120, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | -5 | 200 | 60 | -25 | 165
122670 | 2100120 | Fork 105, axle 33 | 4353030 | Anti-tip S3 +30 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | 0 | 210 | 70 | -25 | 165
124300 | 2100090 | Fork 120, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 0 | 165 | 0 | 0 | 165
124310 | 2100067 | Fork 105, castor S3 90, axle 33 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 5 | 175 | 10 | 0 | 165
124320 | 2100067 | Fork 105, castor S3 90, axle 33 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | -5 | 185 | 20 | 0 | 165
124330 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 0 | 195 | 30 | 0 | 165
124340 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 205 | 40 | 0 | 165
124350 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 215 | 50 | 0 | 165
124360 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 225 | 60 | 0 | 165
124370 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 235 | 70 | 0 | 165
124500 | 2100070 | Fork 105, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 0 | 165 | 0 | 0 | 165
124510 | 2100100 | Fork 120, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 5 | 175 | 10 | 0 | 165
124520 | 2100100 | Fork 120, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | -5 | 185 | 20 | 0 | 165
124530 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 0 | 195 | 30 | 0 | 165
124540 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | 5 | 205 | 40 | 0 | 165
124550 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | -5 | 215 | 50 | 0 | 165
124560 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 225 | 60 | 0 | 165
124570 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 235 | 70 | 0 | 165
124600 | 2100050 | Fork 90, wheel 150, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 0 | 165 | 0 | 0 | 165
124610 | 2100080 | Fork 105, wheel 150, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 5 | 175 | 10 | 0 | 165
124620 | 2100080 | Fork 105, wheel 150, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | -5 | 185 | 20 | 0 | 165
124630 | 2100110 | Fork 120, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 0 | 195 | 30 | 0 | 165
124640 | 2100120 | Fork 105, axle 33 | 4353030 | Anti-tip S3 +30 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | 5 | 205 | 40 | 0 | 165
124650 | 2100120 | Fork 105, axle 33 | 4353030 | Anti-tip S3 +30 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | -5 | 215 | 50 | 0 | 165
124660 | 2100130 | Fork 120, axle 33 | 4353060 | Anti-tip S3 +60 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 | For Large: 4353085 Anti-tip S3 Large +30 pair | 225 | 0 | 225 | 60 | 0 | 165
124670 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 235 | 70 | 0 | 165
125300 | 2100067 | Fork 105, castor S3 90, axle 33 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 8 | 172 | 0 | 7 | 165
125310 | 2100067 | Fork 105, castor S3 90, axle 33 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | -2 | 182 | 10 | 7 | 165
125320 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 3 | 192 | 20 | 7 | 165
125330 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 202 | 30 | 7 | 165
125340 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 212 | 40 | 7 | 165
125350 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 222 | 50 | 7 | 165
125360 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 232 | 60 | 7 | 165
125370 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 242 | 70 | 7 | 165
125500 | 2100100 | Fork 120, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 8 | 172 | 0 | 7 | 165
125510 | 2100100 | Fork 120, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | -2 | 182 | 10 | 7 | 165
125520 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 3 | 192 | 20 | 7 | 165
125530 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | 8 | 202 | 30 | 7 | 165
125540 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | -2 | 212 | 40 | 7 | 165
125550 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 222 | 50 | 7 | 165
125560 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 232 | 60 | 7 | 165
125570 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 242 | 70 | 7 | 165
125600 | 2100080 | Fork 105, wheel 150, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 8 | 172 | 0 | 7 | 165
125610 | 2100080 | Fork 105, wheel 150, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | -2 | 182 | 10 | 7 | 165
125620 | 2100110 | Fork 120, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 3 | 192 | 20 | 7 | 165
125630 | 2100120 | Fork 105, axle 33 | 4353030 | Anti-tip S3 +30 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | 8 | 202 | 30 | 7 | 165
125640 | 2100120 | Fork 105, axle 33 | 4353030 | Anti-tip S3 +30 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | -2 | 212 | 40 | 7 | 165
125650 | 2100130 | Fork 120, axle 33 | 4353060 | Anti-tip S3 +60 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 | For Large: 4353085 Anti-tip S3 Large +30 pair | 225 | 3 | 222 | 50 | 7 | 165
125660 | 2100130 | Fork 120, axle 33 | 4353060 | Anti-tip S3 +60 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 | For Large: 4353085 Anti-tip S3 Large +30 pair | 225 | -7 | 232 | 60 | 7 | 165
125670 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 242 | 70 | 7 | 165
126300 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 5 | 190 | 0 | 25 | 165
126310 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | -5 | 200 | 10 | 25 | 165
126320 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 210 | 20 | 25 | 165
126330 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 220 | 30 | 25 | 165
126340 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 230 | 40 | 25 | 165
126350 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 240 | 50 | 25 | 165
126360 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 250 | 60 | 25 | 165
126370 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 260 | 70 | 25 | 165
126500 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 5 | 190 | 0 | 25 | 165
126510 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | -5 | 200 | 10 | 25 | 165
126520 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | 0 | 210 | 20 | 25 | 165
126530 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 220 | 30 | 25 | 165
126540 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 230 | 40 | 25 | 165
126550 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 240 | 50 | 25 | 165
126560 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 250 | 60 | 25 | 165
126570 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 260 | 70 | 25 | 165
126600 | 2100110 | Fork 120, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 5 | 190 | 0 | 25 | 165
126610 | 2100110 | Fork 120, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | -5 | 200 | 10 | 25 | 165
126620 | 2100120 | Fork 105, axle 33 | 4353030 | Anti-tip S3 +30 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | 0 | 210 | 20 | 25 | 165
126630 | 2100130 | Fork 120, axle 33 | 4353060 | Anti-tip S3 +60 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 | For Large: 4353085 Anti-tip S3 Large +30 pair | 225 | 5 | 220 | 30 | 25 | 165
126640 | 2100130 | Fork 120, axle 33 | 4353060 | Anti-tip S3 +60 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 | For Large: 4353085 Anti-tip S3 Large +30 pair | 225 | -5 | 230 | 40 | 25 | 165
126650 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 240 | 50 | 25 | 165
126660 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 250 | 60 | 25 | 165
126670 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 260 | 70 | 25 | 165
220300 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 89 | 0 | -46 | 135
220310 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 99 | 10 | -46 | 135
220320 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 109 | 20 | -46 | 135
220330 | 2100010 | Fork 75, wheel 90, axle 3 | std | anti-tip wheel upsidedown |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 120 | 1 | 119 | 30 | -46 | 135
220340 | 2100030 | Fork 90, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | 6 | 129 | 40 | -46 | 135
220350 | 2100030 | Fork 90, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | -4 | 139 | 50 | -46 | 135
220360 | 2100060 | Fork 105, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | 1 | 149 | 60 | -46 | 135
220370 | 2100090 | Fork 120, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 6 | 159 | 70 | -46 | 135
220500 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 89 | 0 | -46 | 135
220510 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 99 | 10 | -46 | 135
220520 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 109 | 20 | -46 | 135
220530 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 119 | 30 | -46 | 135
220540 | 2100020 | Fork 75, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | 6 | 129 | 40 | -46 | 135
220550 | 2100020 | Fork 75, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | -4 | 139 | 50 | -46 | 135
220560 | 2100040 | Fork 90, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | 1 | 149 | 60 | -46 | 135
220570 | 2100070 | Fork 105, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 6 | 159 | 70 | -46 | 135
220600 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 89 | 0 | -46 | 135
220610 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 99 | 10 | -46 | 135
220620 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 109 | 20 | -46 | 135
220630 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 119 | 30 | -46 | 135
220640 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 129 | 40 | -46 | 135
220650 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 139 | 50 | -46 | 135
220660 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 149 | 60 | -46 | 135
220670 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 159 | 70 | -46 | 135
222300 | 2100010 | Fork 75, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 120 | 10 | 110 | 0 | -25 | 135
222310 | 2100010 | Fork 75, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 120 | 0 | 120 | 10 | -25 | 135
222320 | 2100030 | Fork 90, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | 5 | 130 | 20 | -25 | 135
222330 | 2100030 | Fork 90, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | -5 | 140 | 30 | -25 | 135
222340 | 2100060 | Fork 105, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | 0 | 150 | 40 | -25 | 135
222350 | 2100090 | Fork 120, wheel 90, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 5 | 160 | 50 | -25 | 135
222360 | 2100090 | Fork 120, wheel 90, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | -5 | 170 | 60 | -25 | 135
222370 | 2100067 | Fork 105, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 0 | 180 | 70 | -25 | 135
222500 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 110 | 0 | -25 | 135
222510 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 120 | 10 | -25 | 135
222520 | 2100020 | Fork 75, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | 5 | 130 | 20 | -25 | 135
222530 | 2100020 | Fork 75, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | -5 | 140 | 30 | -25 | 135
222540 | 2100040 | Fork 90, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | 0 | 150 | 40 | -25 | 135
222550 | 2100070 | Fork 105, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 5 | 160 | 50 | -25 | 135
222560 | 2100070 | Fork 105, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | -5 | 170 | 60 | -25 | 135
222570 | 2100100 | Fork 120, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 0 | 180 | 70 | -25 | 135
222600 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 110 | 0 | -25 | 135
222610 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 120 | 10 | -25 | 135
222620 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 130 | 20 | -25 | 135
222630 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 140 | 30 | -25 | 135
222640 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 150 | 40 | -25 | 135
222650 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 160 | 50 | -25 | 135
222660 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 170 | 60 | -25 | 135
222670 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 180 | 70 | -25 | 135
224300 | 2100030 | Fork 90, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | 0 | 135 | 0 | 0 | 135
224310 | 2100060 | Fork 105, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | 5 | 145 | 10 | 0 | 135
224320 | 2100060 | Fork 105, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | -5 | 155 | 20 | 0 | 135
224330 | 2100090 | Fork 120, wheel 90, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 0 | 165 | 30 | 0 | 135
224340 | 2100067 | Fork 105, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 5 | 175 | 40 | 0 | 135
224350 | 2100067 | Fork 105, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | -5 | 185 | 50 | 0 | 135
224360 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 0 | 195 | 60 | 0 | 135
224370 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 205 | 70 | 0 | 135
224500 | 2100020 | Fork 75, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | 0 | 135 | 0 | 0 | 135
224510 | 2100040 | Fork 90, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | 5 | 145 | 10 | 0 | 135
224520 | 2100040 | Fork 90, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | -5 | 155 | 20 | 0 | 135
224530 | 2100070 | Fork 105, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 0 | 165 | 30 | 0 | 135
224540 | 2100100 | Fork 120, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 5 | 175 | 40 | 0 | 135
224550 | 2100100 | Fork 120, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | -5 | 185 | 50 | 0 | 135
224560 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 0 | 195 | 60 | 0 | 135
224570 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | 5 | 205 | 70 | 0 | 135
224600 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 135 | 0 | 0 | 135
224610 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 145 | 10 | 0 | 135
224620 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 155 | 20 | 0 | 135
224630 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 165 | 30 | 0 | 135
224640 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 175 | 40 | 0 | 135
224650 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 185 | 50 | 0 | 135
224660 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 195 | 60 | 0 | 135
224670 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 205 | 70 | 0 | 135
225300 | 2100060 | Fork 105, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | 8 | 142 | 0 | 7 | 135
225310 | 2100060 | Fork 105, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | -2 | 152 | 10 | 7 | 135
225320 | 2100090 | Fork 120, wheel 90, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 3 | 162 | 20 | 7 | 135
225330 | 2100067 | Fork 105, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 8 | 172 | 30 | 7 | 135
225340 | 2100067 | Fork 105, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | -2 | 182 | 40 | 7 | 135
225350 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 3 | 192 | 50 | 7 | 135
225360 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | -7 | 202 | 60 | 7 | 135
225370 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 212 | 70 | 7 | 135
225500 | 2100040 | Fork 90, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | 8 | 142 | 0 | 7 | 135
225510 | 2100040 | Fork 90, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | -2 | 152 | 10 | 7 | 135
225520 | 2100070 | Fork 105, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 3 | 162 | 20 | 7 | 135
225530 | 2100100 | Fork 120, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 8 | 172 | 30 | 7 | 135
225540 | 2100100 | Fork 120, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | -2 | 182 | 40 | 7 | 135
225550 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 3 | 192 | 50 | 7 | 135
225560 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | 8 | 202 | 60 | 7 | 135
225570 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 212 | 70 | 7 | 135
225600 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 142 | 0 | 7 | 135
225610 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 152 | 10 | 7 | 135
225620 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 162 | 20 | 7 | 135
225630 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 172 | 30 | 7 | 135
225640 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 182 | 40 | 7 | 135
225650 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 192 | 50 | 7 | 135
225660 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 202 | 60 | 7 | 135
225670 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 212 | 70 | 7 | 135
226300 | 2100090 | Fork 120, wheel 90, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 5 | 160 | 0 | 25 | 135
226310 | 2100090 | Fork 120, wheel 90, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | -5 | 170 | 10 | 25 | 135
226320 | 2100067 | Fork 105, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 0 | 180 | 20 | 25 | 135
226330 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 5 | 190 | 30 | 25 | 135
226340 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | -5 | 200 | 40 | 25 | 135
226350 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 210 | 50 | 25 | 135
226360 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 220 | 60 | 25 | 135
226370 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 230 | 70 | 25 | 135
226500 | 2100070 | Fork 105, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 5 | 160 | 0 | 25 | 135
226510 | 2100070 | Fork 105, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | -5 | 170 | 10 | 25 | 135
226520 | 2100100 | Fork 120, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 0 | 180 | 20 | 25 | 135
226530 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 5 | 190 | 30 | 25 | 135
226540 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | -5 | 200 | 40 | 25 | 135
226550 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | 0 | 210 | 50 | 25 | 135
226560 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 220 | 60 | 25 | 135
226570 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 230 | 70 | 25 | 135
226600 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 160 | 0 | 25 | 135
226610 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 170 | 10 | 25 | 135
226620 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 180 | 20 | 25 | 135
226630 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 190 | 30 | 25 | 135
226640 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 200 | 40 | 25 | 135
226650 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 210 | 50 | 25 | 135
226660 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 220 | 60 | 25 | 135
226670 | no go | 6" castor doesn't fit U3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 230 | 70 | 25 | 135
320300 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 89 | 0 | -46 | 135
320310 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 99 | 10 | -46 | 135
320320 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 109 | 20 | -46 | 135
320330 | 2100010 | Fork 75, wheel 90, axle 3 | std | anti-tip wheel upsidedown |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 120 | 1 | 119 | 30 | -46 | 135
320340 | 2100030 | Fork 90, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | 6 | 129 | 40 | -46 | 135
320350 | 2100030 | Fork 90, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | -4 | 139 | 50 | -46 | 135
320360 | 2100060 | Fork 105, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | 1 | 149 | 60 | -46 | 135
320370 | 2100090 | Fork 120, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 6 | 159 | 70 | -46 | 135
320500 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 89 | 0 | -46 | 135
320510 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 99 | 10 | -46 | 135
320520 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 109 | 20 | -46 | 135
320530 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 119 | 30 | -46 | 135
320540 | 2100020 | Fork 75, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | 6 | 129 | 40 | -46 | 135
320550 | 2100020 | Fork 75, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | -4 | 139 | 50 | -46 | 135
320560 | 2100040 | Fork 90, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | 1 | 149 | 60 | -46 | 135
320570 | 2100070 | Fork 105, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 6 | 159 | 70 | -46 | 135
320600 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 89 | 0 | -46 | 135
320610 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 99 | 10 | -46 | 135
320620 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 109 | 20 | -46 | 135
320630 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 119 | 30 | -46 | 135
320640 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 129 | 40 | -46 | 135
320650 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 139 | 50 | -46 | 135
320660 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 149 | 60 | -46 | 135
320670 | 2100050 | Fork 90, wheel 150, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 6 | 159 | 70 | -46 | 135
322300 | 2100010 | Fork 75, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 120 | 10 | 110 | 0 | -25 | 135
322310 | 2100010 | Fork 75, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 120 | 0 | 120 | 10 | -25 | 135
322320 | 2100030 | Fork 90, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | 5 | 130 | 20 | -25 | 135
322330 | 2100030 | Fork 90, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | -5 | 140 | 30 | -25 | 135
322340 | 2100060 | Fork 105, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | 0 | 150 | 40 | -25 | 135
322350 | 2100090 | Fork 120, wheel 90, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 5 | 160 | 50 | -25 | 135
322360 | 2100090 | Fork 120, wheel 90, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | -5 | 170 | 60 | -25 | 135
322370 | 2100067 | Fork 105, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 0 | 180 | 70 | -25 | 135
322500 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 110 | 0 | -25 | 135
322510 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 120 | 10 | -25 | 135
322520 | 2100020 | Fork 75, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | 5 | 130 | 20 | -25 | 135
322530 | 2100020 | Fork 75, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | -5 | 140 | 30 | -25 | 135
322540 | 2100040 | Fork 90, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | 0 | 150 | 40 | -25 | 135
322550 | 2100070 | Fork 105, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 5 | 160 | 50 | -25 | 135
322560 | 2100070 | Fork 105, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | -5 | 170 | 60 | -25 | 135
322570 | 2100100 | Fork 120, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 0 | 180 | 70 | -25 | 135
322600 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 110 | 0 | -25 | 135
322610 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 120 | 10 | -25 | 135
322620 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 130 | 20 | -25 | 135
322630 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 140 | 30 | -25 | 135
322640 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 150 | 40 | -25 | 135
322650 | 2100050 | Fork 90, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 5 | 160 | 50 | -25 | 135
322660 | 2100050 | Fork 90, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | -5 | 170 | 60 | -25 | 135
322670 | 2100080 | Fork 105, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 0 | 180 | 70 | -25 | 135
324300 | 2100030 | Fork 90, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | 0 | 135 | 0 | 0 | 135
324310 | 2100060 | Fork 105, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | 5 | 145 | 10 | 0 | 135
324320 | 2100060 | Fork 105, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | -5 | 155 | 20 | 0 | 135
324330 | 2100090 | Fork 120, wheel 90, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 0 | 165 | 30 | 0 | 135
324340 | 2100067 | Fork 105, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 5 | 175 | 40 | 0 | 135
324350 | 2100067 | Fork 105, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | -5 | 185 | 50 | 0 | 135
324360 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 0 | 195 | 60 | 0 | 135
324370 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 |  | 205 | 70 | 0 | 135
324500 | 2100020 | Fork 75, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 135 | 0 | 135 | 0 | 0 | 135
324510 | 2100040 | Fork 90, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | 5 | 145 | 10 | 0 | 135
324520 | 2100040 | Fork 90, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | -5 | 155 | 20 | 0 | 135
324530 | 2100070 | Fork 105, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 0 | 165 | 30 | 0 | 135
324540 | 2100100 | Fork 120, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 5 | 175 | 40 | 0 | 135
324550 | 2100100 | Fork 120, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | -5 | 185 | 50 | 0 | 135
324560 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 0 | 195 | 60 | 0 | 135
324570 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | 5 | 205 | 70 | 0 | 135
324600 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 135 | 0 | 0 | 135
324610 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 145 | 10 | 0 | 135
324620 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 155 | 20 | 0 | 135
324630 | 2100050 | Fork 90, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 0 | 165 | 30 | 0 | 135
324640 | 2100080 | Fork 105, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 5 | 175 | 40 | 0 | 135
324650 | 2100080 | Fork 105, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | -5 | 185 | 50 | 0 | 135
324660 | 2100110 | Fork 120, wheel 150, axle 3 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 0 | 195 | 60 | 0 | 135
324670 | 2100120 | Fork 105, axle 33 | 4353060 | Anti-tip S3 +60 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | 5 | 205 | 70 | 0 | 135
325300 | 2100060 | Fork 105, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | 8 | 142 | 0 | 7 | 135
325310 | 2100060 | Fork 105, wheel 90, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | -2 | 152 | 10 | 7 | 135
325320 | 2100090 | Fork 120, wheel 90, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 3 | 162 | 20 | 7 | 135
325330 | 2100067 | Fork 105, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 8 | 172 | 30 | 7 | 135
325340 | 2100067 | Fork 105, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | -2 | 182 | 40 | 7 | 135
325350 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 3 | 192 | 50 | 7 | 135
325360 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | -7 | 202 | 60 | 7 | 135
325370 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 212 | 70 | 7 | 135
325500 | 2100040 | Fork 90, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | 8 | 142 | 0 | 7 | 135
325510 | 2100040 | Fork 90, wheel 120, axle 3 | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 150 | -2 | 152 | 10 | 7 | 135
325520 | 2100070 | Fork 105, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 3 | 162 | 20 | 7 | 135
325530 | 2100100 | Fork 120, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 8 | 172 | 30 | 7 | 135
325540 | 2100100 | Fork 120, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | -2 | 182 | 40 | 7 | 135
325550 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 3 | 192 | 50 | 7 | 135
325560 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | 8 | 202 | 60 | 7 | 135
325570 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 212 | 70 | 7 | 135
325600 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 142 | 0 | 7 | 135
325610 | no go | will be too high in front, with these castors | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 152 | 10 | 7 | 135
325620 | 2100050 | Fork 90, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 3 | 162 | 20 | 7 | 135
325630 | 2100080 | Fork 105, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 8 | 172 | 30 | 7 | 135
325640 | 2100080 | Fork 105, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | -2 | 182 | 40 | 7 | 135
325650 | 2100110 | Fork 120, wheel 150, axle 3 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 3 | 192 | 50 | 7 | 135
325660 | 2100120 | Fork 105, axle 33 | 4353060 | Anti-tip S3 +60 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | 8 | 202 | 60 | 7 | 135
325670 | 2100120 | Fork 105, axle 33 | 4353060 | Anti-tip S3 +60 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | -2 | 212 | 70 | 7 | 135
326300 | 2100090 | Fork 120, wheel 90, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 5 | 160 | 0 | 25 | 135
326310 | 2100090 | Fork 120, wheel 90, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | -5 | 170 | 10 | 25 | 135
326320 | 2100067 | Fork 105, castor S3 90, axle 33 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 0 | 180 | 20 | 25 | 135
326330 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 5 | 190 | 30 | 25 | 135
326340 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | -5 | 200 | 40 | 25 | 135
326350 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 210 | 50 | 25 | 135
326360 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 220 | 60 | 25 | 135
326370 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 230 | 70 | 25 | 135
326500 | 2100070 | Fork 105, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 5 | 160 | 0 | 25 | 135
326510 | 2100070 | Fork 105, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | -5 | 170 | 10 | 25 | 135
326520 | 2100100 | Fork 120, wheel 120, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 0 | 180 | 20 | 25 | 135
326530 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | 5 | 190 | 30 | 25 | 135
326540 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 195 | -5 | 200 | 40 | 25 | 135
326550 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353060 | Anti-tip S3 +60 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 210 | 0 | 210 | 50 | 25 | 135
326560 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 220 | 60 | 25 | 135
326570 | no go | There is no fork high enough | std | std |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair |  |  | 230 | 70 | 25 | 135
326600 | 2100050 | Fork 90, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 165 | 5 | 160 | 0 | 25 | 135
326610 | 2100080 | Fork 105, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 10 | 170 | 10 | 25 | 135
326620 | 2100080 | Fork 105, wheel 150, axle 3 | 4353030 | Anti-tip S3 +30 pair |  |  |  | For Large: 4353085 Anti-tip S3 Large +30 pair | 180 | 0 | 180 | 20 | 25 | 135
326630 | 2100110 | Fork 120, wheel 150, axle 3 | 4353060 | Anti-tip S3 +60 pair |  |  |  |  | 195 | 5 | 190 | 30 | 25 | 135
326640 | 2100110 | Fork 120, wheel 150, axle 3 | 4353060 | Anti-tip S3 +60 pair |  |  |  |  | 195 | -5 | 200 | 40 | 25 | 135
326650 | 2100120 | Fork 105, axle 33 | 4353060 | Anti-tip S3 +60 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 |  | 210 | 0 | 210 | 50 | 25 | 135
326660 | 2100130 | Fork 120, axle 33 | 4353060 | Anti-tip S3 +60 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 |  | 225 | 5 | 220 | 60 | 25 | 135
326670 | 2100130 | Fork 120, axle 33 | 4353060 | Anti-tip S3 +60 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 |  | 225 | -5 | 230 | 70 | 25 | 135
520300 | 2100010 | Fork 75, wheel 90, axle 3 | std | std |  |  |  |  | 120 | 1 | 119 | 0 | -46 | 165
520310 | 2100030 | Fork 90, wheel 90, axle 3 | std | std |  |  |  |  | 135 | 6 | 129 | 10 | -46 | 165
520320 | 2100030 | Fork 90, wheel 90, axle 3 | std | std |  |  |  |  | 135 | -4 | 139 | 20 | -46 | 165
520330 | 2100060 | Fork 105, wheel 90, axle 3 | std | std |  |  |  |  | 150 | 1 | 149 | 30 | -46 | 165
520340 | 2100090 | Fork 120, wheel 90, axle 4 | std | std |  |  |  |  | 165 | 6 | 159 | 40 | -46 | 165
520350 | 2100090 | Fork 120, wheel 90, axle 5 | std | std |  |  |  |  | 165 | -4 | 169 | 50 | -46 | 165
520360 | 2100067 | Fork 105, castor S3 90, axle 33 | std | std |  |  |  |  | 180 | 1 | 179 | 60 | -46 | 165
520370 | 2100097 | Fork 120, castor S3 90, axle 33 | std | std |  |  |  |  | 195 | 6 | 189 | 70 | -46 | 165
520500 | no go | will be too high in front, with these castors | std | std | Click the box for 10mm in the feild "Rearaxel raise" |  | The chair needs to be raised 10mm |  |  |  | 119 | 0 | -46 | 165
520510 | 2100020 | Fork 75, wheel 120, axle 3 | std | std |  |  |  |  | 135 | 6 | 129 | 10 | -46 | 165
520520 | 2100020 | Fork 75, wheel 120, axle 3 | std | std |  |  |  |  | 135 | -4 | 139 | 20 | -46 | 165
520530 | 2100040 | Fork 90, wheel 120, axle 3 | std | std |  |  |  |  | 150 | 1 | 149 | 30 | -46 | 165
520540 | 2100070 | Fork 105, wheel 120, axle 3 | std | std |  |  |  |  | 165 | 6 | 159 | 40 | -46 | 165
520550 | 2100070 | Fork 105, wheel 120, axle 3 | std | std |  |  |  |  | 165 | -4 | 169 | 50 | -46 | 165
520560 | 2100100 | Fork 120, wheel 120, axle 3 | std | std |  |  |  |  | 180 | 1 | 179 | 60 | -46 | 165
520570 | 2100077 | Fork 105, castor S3 120, axle 33 | std | std |  |  |  |  | 195 | 6 | 189 | 70 | -46 | 165
520600 | no go | will be too high in front, with these castors | std | std | Click the box for 40mm in the feild "Rearaxel raise" |  | The chair needs to be raised 40mm |  |  |  | 119 | 0 | -46 | 165
520610 | no go | will be too high in front, with these castors | std | std | Click the box for 40mm in the feild "Rearaxel raise" |  | The chair needs to be raised 40mm |  |  |  | 129 | 10 | -46 | 165
520620 | no go | will be too high in front, with these castors | std | std | Click the box for 40mm in the feild "Rearaxel raise" |  | The chair needs to be raised 40mm |  |  |  | 139 | 20 | -46 | 165
520630 | no go | will be too high in front, with these castors | std | std | Click the box for 40mm in the feild "Rearaxel raise" |  | The chair needs to be raised 40mm |  |  |  | 149 | 30 | -46 | 165
520640 | 2100050 | Fork 90, wheel 150, axle 3 | std | std |  |  |  |  | 165 | 6 | 159 | 40 | -46 | 165
520650 | 2100050 | Fork 90, wheel 150, axle 3 | std | std |  |  |  |  | 165 | -4 | 169 | 50 | -46 | 165
520660 | 2100080 | Fork 105, wheel 150, axle 3 | std | std |  |  |  |  | 180 | 1 | 179 | 60 | -46 | 165
520670 | 2100110 | Fork 120, wheel 150, axle 3 | std | std |  |  |  |  | 195 | 6 | 189 | 70 | -46 | 165
522300 | 2100030 | Fork 90, wheel 90, axle 3 | std | std |  |  |  |  | 135 | -5 | 140 | 0 | -25 | 165
522310 | 2100060 | Fork 105, wheel 90, axle 3 | std | std |  |  |  |  | 150 | 0 | 150 | 10 | -25 | 165
522320 | 2100090 | Fork 120, wheel 90, axle 6 | std | std |  |  |  |  | 165 | 5 | 160 | 20 | -25 | 165
522330 | 2100090 | Fork 120, wheel 90, axle 7 | std | std |  |  |  |  | 165 | -5 | 170 | 30 | -25 | 165
522340 | 2100067 | Fork 105, castor S3 90, axle 33 | std | std |  |  |  |  | 180 | 0 | 180 | 40 | -25 | 165
522350 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 195 | 5 | 190 | 50 | -25 | 165
522360 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 195 | -5 | 200 | 60 | -25 | 165
522370 | no go | There is no fork high enough | std | std | [6 empty] | 210 | 70 | -25 | 165
522500 | 2100020 | Fork 75, wheel 120, axle 3 | std | std |  |  |  |  | 135 | -5 | 140 | 0 | -25 | 165
522510 | 2100040 | Fork 90, wheel 120, axle 3 | std | std |  |  |  |  | 150 | 0 | 150 | 10 | -25 | 165
522520 | 2100070 | Fork 105, wheel 120, axle 3 | std | std |  |  |  |  | 165 | 5 | 160 | 20 | -25 | 165
522530 | 2100070 | Fork 105, wheel 120, axle 3 | std | std |  | 4353330 | Anti-tip device B3 cpl pair |  | 165 | -5 | 170 | 30 | -25 | 165
522540 | 2100100 | Fork 120, wheel 120, axle 3 | std | std |  |  |  |  | 180 | 0 | 180 | 40 | -25 | 165
522550 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 195 | 5 | 190 | 50 | -25 | 165
522560 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 195 | -5 | 200 | 60 | -25 | 165
522570 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 210 | 0 | 210 | 70 | -25 | 165
522600 | no go | will be too high in front, with these castors | std | std | Click the box for 20mm in the feild "Rearaxel raise" |  | The chair needs to be raised 20mm |  |  |  | 140 | 0 | -25 | 165
522610 | no go | will be too high in front, with these castors | std | std | Click the box for 20mm in the feild "Rearaxel raise" |  | The chair needs to be raised 20mm |  |  |  | 150 | 10 | -25 | 165
522620 | 2100050 | Fork 90, wheel 150, axle 3 | std | std |  |  |  |  | 165 | 5 | 160 | 20 | -25 | 165
522630 | 2100050 | Fork 90, wheel 150, axle 3 | std | std |  |  |  |  | 165 | -5 | 170 | 30 | -25 | 165
522640 | 2100080 | Fork 105, wheel 150, axle 3 | std | std |  |  |  |  | 180 | 0 | 180 | 40 | -25 | 165
522650 | 2100110 | Fork 120, wheel 150, axle 3 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 195 | 5 | 190 | 50 | -25 | 165
522660 | 2100110 | Fork 120, wheel 150, axle 3 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 195 | -5 | 200 | 60 | -25 | 165
522670 | 2100120 | Fork 105, axle 33 | 4353330 | Anti-tip device B3 cpl pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 |  | 210 | 0 | 210 | 70 | -25 | 165
524300 | 2100090 | Fork 120, wheel 90, axle 8 | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. |  |  |  |  | 165 | 0 | 165 | 0 | 0 | 165
524310 | 2100067 | Fork 105, castor S3 90, axle 33 | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. |  |  |  |  | 180 | 5 | 175 | 10 | 0 | 165
524320 | 2100067 | Fork 105, castor S3 90, axle 33 | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. |  |  |  |  | 180 | -5 | 185 | 20 | 0 | 165
524330 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. |  |  |  |  | 195 | 0 | 195 | 30 | 0 | 165
524340 | no go | There is no fork high enough | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. | [6 empty] | 205 | 40 | 0 | 165
524350 | no go | There is no fork high enough | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. | [6 empty] | 215 | 50 | 0 | 165
524360 | no go | There is no fork high enough | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. | [6 empty] | 225 | 60 | 0 | 165
524370 | no go | There is no fork high enough | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. | [6 empty] | 235 | 70 | 0 | 165
524500 | 2100070 | Fork 105, wheel 120, axle 3 | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. |  |  |  |  | 165 | 0 | 165 | 0 | 0 | 165
524510 | 2100100 | Fork 120, wheel 120, axle 3 | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. |  |  |  |  | 180 | 5 | 175 | 10 | 0 | 165
524520 | 2100100 | Fork 120, wheel 120, axle 3 | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. |  |  |  |  | 180 | -5 | 185 | 20 | 0 | 165
524530 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 195 | 0 | 195 | 30 | 0 | 165
524540 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 210 | 5 | 205 | 40 | 0 | 165
524550 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 210 | -5 | 215 | 50 | 0 | 165
524560 | no go | There is no fork high enough | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. | [6 empty] | 225 | 60 | 0 | 165
524570 | no go | There is no fork high enough | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. | [6 empty] | 235 | 70 | 0 | 165
524600 | 2100050 | Fork 90, wheel 150, axle 3 | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. |  |  |  |  | 165 | 0 | 165 | 0 | 0 | 165
524610 | 2100080 | Fork 105, wheel 150, axle 3 | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. |  |  |  |  | 180 | 5 | 175 | 10 | 0 | 165
524620 | 2100080 | Fork 105, wheel 150, axle 3 | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. |  |  |  |  | 180 | -5 | 185 | 20 | 0 | 165
524630 | 2100110 | Fork 120, wheel 150, axle 3 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 195 | 0 | 195 | 30 | 0 | 165
524640 | 2100120 | Fork 105, axle 33 | 4353330 | Anti-tip device B3 cpl pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 |  | 210 | 5 | 205 | 40 | 0 | 165
524650 | 2100120 | Fork 105, axle 33 | 4353330 | Anti-tip device B3 cpl pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 |  | 210 | -5 | 215 | 50 | 0 | 165
524660 | 2100130 | Fork 120, axle 33 | 4353060 | Anti-tip S3 +60 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 |  | 225 | 0 | 225 | 60 | 0 | 165
524670 | no go | There is no fork high enough | std | std | [6 empty] | 235 | 70 | 0 | 165
525300 | 2100067 | Fork 105, castor S3 90, axle 33 | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. |  |  |  |  | 180 | 8 | 172 | 0 | 7 | 165
525310 | 2100067 | Fork 105, castor S3 90, axle 33 | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. |  |  |  |  | 180 | -2 | 182 | 10 | 7 | 165
525320 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 195 | 3 | 192 | 20 | 7 | 165
525330 | no go | There is no fork high enough | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. | [6 empty] | 202 | 30 | 7 | 165
525340 | no go | There is no fork high enough | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. | [6 empty] | 212 | 40 | 7 | 165
525350 | no go | There is no fork high enough | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. | [6 empty] | 222 | 50 | 7 | 165
525360 | no go | There is no fork high enough | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. | [6 empty] | 232 | 60 | 7 | 165
525370 | no go | There is no fork high enough | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. | [6 empty] | 242 | 70 | 7 | 165
525500 | 2100100 | Fork 120, wheel 120, axle 3 | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. |  |  |  |  | 180 | 8 | 172 | 0 | 7 | 165
525510 | 2100100 | Fork 120, wheel 120, axle 3 | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. |  |  |  |  | 180 | -2 | 182 | 10 | 7 | 165
525520 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 195 | 3 | 192 | 20 | 7 | 165
525530 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 210 | 8 | 202 | 30 | 7 | 165
525540 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 210 | -2 | 212 | 40 | 7 | 165
525550 | no go | There is no fork high enough | std | std | [6 empty] | 222 | 50 | 7 | 165
525560 | no go | There is no fork high enough | std | std | [6 empty] | 232 | 60 | 7 | 165
525570 | no go | There is no fork high enough | std | std | [6 empty] | 242 | 70 | 7 | 165
525600 | 2100080 | Fork 105, wheel 150, axle 3 | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. |  |  |  |  | 180 | 8 | 172 | 0 | 7 | 165
525610 | 2100080 | Fork 105, wheel 150, axle 3 | 4353330 | Anti-tip device B3 +30 cpl pair, B3 Short. 4353300 Anti-tip device B3 cpl pair, B3. |  |  |  |  | 180 | -2 | 182 | 10 | 7 | 165
525620 | 2100110 | Fork 120, wheel 150, axle 3 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 195 | 3 | 192 | 20 | 7 | 165
525630 | 2100120 | Fork 105, axle 33 | 4353330 | Anti-tip device B3 cpl pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 |  | 210 | 8 | 202 | 30 | 7 | 165
525640 | 2100120 | Fork 105, axle 33 | 4353330 | Anti-tip device B3 cpl pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 |  | 210 | -2 | 212 | 40 | 7 | 165
525650 | 2100130 | Fork 120, axle 33 | 4353060 | Anti-tip S3 +60 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 |  | 225 | 3 | 222 | 50 | 7 | 165
525660 | 2100130 | Fork 120, axle 33 | 4353060 | Anti-tip S3 +60 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 |  | 225 | -7 | 232 | 60 | 7 | 165
525670 | no go | There is no fork high enough | std | std | [6 empty] | 242 | 70 | 7 | 165
526300 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 195 | 5 | 190 | 0 | 25 | 165
526310 | 2100097 | Fork 120, castor S3 90, axle 33 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 195 | -5 | 200 | 10 | 25 | 165
526320 | no go | There is no fork high enough | std | std | [6 empty] | 210 | 20 | 25 | 165
526330 | no go | There is no fork high enough | std | std | [6 empty] | 220 | 30 | 25 | 165
526340 | no go | There is no fork high enough | std | std | [6 empty] | 230 | 40 | 25 | 165
526350 | no go | There is no fork high enough | std | std | [6 empty] | 240 | 50 | 25 | 165
526360 | no go | There is no fork high enough | std | std | [6 empty] | 250 | 60 | 25 | 165
526370 | no go | There is no fork high enough | std | std | [6 empty] | 260 | 70 | 25 | 165
526500 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 195 | 5 | 190 | 0 | 25 | 165
526510 | 2100077 | Fork 105, castor S3 120, axle 33 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 195 | -5 | 200 | 10 | 25 | 165
526520 | 2100107 | Fork 120, castor S3 120, axle 33 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 210 | 0 | 210 | 20 | 25 | 165
526530 | no go | There is no fork high enough | std | std | [6 empty] | 220 | 30 | 25 | 165
526540 | no go | There is no fork high enough | std | std | [6 empty] | 230 | 40 | 25 | 165
526550 | no go | There is no fork high enough | std | std | [6 empty] | 240 | 50 | 25 | 165
526560 | no go | There is no fork high enough | std | std | [6 empty] | 250 | 60 | 25 | 165
526570 | no go | There is no fork high enough | std | std | [6 empty] | 260 | 70 | 25 | 165
526600 | 2100110 | Fork 120, wheel 150, axle 3 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 195 | 5 | 190 | 0 | 25 | 165
526610 | 2100110 | Fork 120, wheel 150, axle 3 | 4353330 | Anti-tip device B3 cpl pair |  |  |  |  | 195 | -5 | 200 | 10 | 25 | 165
526620 | 2100120 | Fork 105, axle 33 | 4353330 | Anti-tip device B3 cpl pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 |  | 210 | 0 | 210 | 20 | 25 | 165
526630 | 2100130 | Fork 120, axle 33 | 4353060 | Anti-tip S3 +60 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 |  | 225 | 5 | 220 | 30 | 25 | 165
526640 | 2100130 | Fork 120, axle 33 | 4353060 | Anti-tip S3 +60 pair | For each castor: 1pcs 2002016 Bushing casterwheel S3 set 1pcs 6002647 Bolt MLC6S M6x45 | 2002030 | Castors S3, 150 |  | 225 | -5 | 230 | 40 | 25 | 165
526650 | no go | There is no fork high enough | std | std | [6 empty] | 240 | 50 | 25 | 165
526660 | no go | There is no fork high enough | std | std | [6 empty] | 250 | 60 | 25 | 165
526670 | no go | There is no fork high enough | std | std | [6 empty] | 260 | 70 | 25 | 165

## Assembly Kit (hidden)
0 | Standard | Standard rearaxle
10 | 3302510 | Assembly kit Carbon axle +10mm | Fäste bakaxel komplett förhöjning 10 mm
11 | 3302710 | Assembly kit rear axle 6-8⁰ 10mm without notch | Fäste bakaxel 6-8⁰ u.klack 10 kpl
20 | 3302520 | Assembly kit Carbon axle +20mm | Fäste bakaxel komplett förhöjning 20 mm
21 | 3302720 | Assembly kit rear axle 6-8⁰ 20mm without notch | Fäste bakaxel 6-8⁰ u.klack 20 kpl
30 | 3302530 | Assembly kit Carbon axle +30mm | Fäste bakaxel komplett förhöjning 30 mm
31 | 3302730 | Assembly kit rear axle 6-8⁰ 30mm without notch | Fäste bakaxel 6-8⁰ u.klack 30 kpl
40 | 3302540 | Assembly kit Carbon axle +40mm | Fäste bakaxel komplett förhöjning 40 mm
41 | 3302740 | Assembly kit rear axle 6-8⁰ 40mm without notch | Fäste bakaxel 6-8⁰ u.klack 40 kpl
50 | 3302550 | Assembly kit Carbon axle +50mm | Fäste bakaxel komplett förhöjning 50 mm
51 | 3302750 | Assembly kit rear axle 6-8⁰ 50mm without notch | Fäste bakaxel 6-8⁰ u.klack 50 kpl
60 | 3302560 | Assembly kit Carbon axle +60mm | Fäste bakaxel komplett förhöjning 60 mm
61 | 3302760 | Assembly kit rear axle 6-8⁰ 60mm without notch | Fäste bakaxel 6-8⁰ u.klack 60 kpl
70 | 3302570 | Assembly kit Carbon axle +70mm | Fäste bakaxel komplett förhöjning 70 mm
71 | 3302770 | Assembly kit rear axle 6-8⁰ 70mm without notch | Fäste bakaxel 6-8⁰ u.klack 70 kpl
S3
S3 Short
S3 Large
Short Low
S3 0⁰
S2

## Overview
Standard forks S3
Standard forks U3
Castor

## Chart
Castor 90 |  | S3 | [6 empty] | U3
|  |  |  | wheel size | [6 empty] | wheel size
|  | 20 | 22 | 24 | 25 | 26 |  |  | 20 | 22 | 24 | 25 | 26
raise | 0 | ok | ok | ok | ok | ok | raise | 0 | no go | no go | ok | ok | ok
| 10 | ok | ok | ok | ok | ok |  | 10 | no go | ok | ok | ok | ok
| 20 | ok | ok | ok | ok | no go |  | 20 | no go | ok | ok | ok | ok
| 30 | ok | ok | ok | no go | no go |  | 30 | ok | ok | ok | ok | ok
| 40 | ok | ok | no go | no go | no go |  | 40 | ok | ok | ok | ok | ok
| 50 | ok | ok | no go | no go | no go |  | 50 | ok | ok | ok | ok | no go
| 60 | ok | ok | no go | no go | no go |  | 60 | ok | ok | ok | no go | no go
| 70 | ok | no go | no go | no go | no go |  | 70 | ok | ok | no go | no go | no go
Castor 120 |  | S3 | [6 empty] | U3
|  |  |  | wheel size | [6 empty] | wheel size
|  | 20 | 22 | 24 | 25 | 26 |  |  | 20 | 22 | 24 | 25 | 26
raise | 0 | no go | ok | ok | ok | ok | raise | 0 | no go | no go | ok | ok | ok
| 10 | ok | ok | ok | ok | ok |  | 10 | no go | no go | ok | ok | ok
| 20 | ok | ok | ok | ok | ok |  | 20 | no go | ok | ok | ok | ok
| 30 | ok | ok | ok | ok | no go |  | 30 | no go | ok | ok | ok | ok
| 40 | ok | ok | ok | ok | no go |  | 40 | ok | ok | ok | ok | ok
| 50 | ok | ok | ok | no go | no go |  | 50 | ok | ok | ok | ok | ok
| 60 | ok | ok | no go | no go | no go |  | 60 | ok | ok | ok | ok | no go
| 70 | ok | ok | no go | no go | no go |  | 70 | ok | ok | ok | no go | no go
Castor 150 |  | S3 | [6 empty] | U3
|  |  |  | wheel size | [6 empty] | wheel size
|  | 20 | 22 | 24 | 25 | 26 |  |  | 20 | 22 | 24 | 25 | 26
raise | 0 | no go | no go | ok | ok | ok | raise | 0 | no go | no go | no go | no go | no go
| 10 | no go | no go | ok | ok | ok |  | 10 | no go | no go | no go | no go | no go
| 20 | no go | ok | ok | ok | ok |  | 20 | no go | no go | no go | no go | no go
| 30 | no go | ok | ok | ok | ok |  | 30 | no go | no go | no go | no go | no go
| 40 | ok | ok | ok | ok | ok |  | 40 | no go | no go | no go | no go | no go
| 50 | ok | ok | ok | ok | no go |  | 50 | no go | no go | no go | no go | no go
| 60 | ok | ok | ok | no go | no go |  | 60 | no go | no go | no go | no go | no go
| 70 | ok | ok | no go | no go | no go |  | 70 | no go | no go | no go | no go | no go

## Anti Tip heights
Selection of Anti-Tip
Measurement from floor
|  | hight rear S3 | Turned upwards | std | +30 | +60
|  | 355 | 28
|  | 365 | 38
|  | 375 | 48
|  | 385 | 58
|  | 395 | 68
|  | 405 |  | 30
|  | 415 |  | 40
| standard hight S3 | 425 |  | 50
|  | 435 |  | 60
|  | 445 | 118 | 70 | 40 | 10
|  | 455 |  |  | 50
|  | 465 |  |  | 60
|  | 475 |  |  | 70 | 40
|  | 485 |  |  |  | 50
|  | 495 |  |  |  | 60
|  | 505 |  |  |  | 70
|  | 515 |  |  |  | 80
wheel size
|  |  | rais | 20 | 22 | 24 | 25 | 26
|  |  | 0 | UP | std | std | std | 30
|  |  | 10 | UP | std | std | std | 30
|  |  | 20 | UP | std | std | 30 | 30
|  |  | 30 | UP | std | 30 | 30 | 60
|  |  | 40 | std | std | 30 | 30 | 60
|  |  | 50 | std | 30 | 30 | 60 | 60
|  |  | 60 | std | 30 | 60 | 60 | 60
|  |  | 70 | std | 30 | 60 | 60 | 60

## Val av gaffel Dick
205 |  |  |  | 220 |  |  |  | 235
204 |  |  |  | 219 |  |  |  | 234
203 |  |  |  | 218 |  |  |  | 233
202 |  |  |  | 217 |  |  |  | 232
201 |  |  |  | 216 |  |  |  | 231
200 |  |  |  | 215 |  |  |  | 230
199 |  |  |  | 214 |  |  |  | 229
198 |  |  |  | 213 |  |  |  | 228
197 |  |  |  | 212 |  |  |  | 227
196 |  |  |  | 211 |  |  |  | 226
195 | 90- 120+30 | 2100130 | Gaffel 120, tapp 33 | 210 | 120- 120+30 | 2100130 | Gaffel 120, tapp 33 | 225 | 150- 120+30 | 2100130 | Gaffel 120, tapp 33
194 |  |  |  | 209 |  |  |  | 224
193 |  |  |  | 208 |  |  |  | 223
192 |  |  |  | 207 |  |  |  | 222
191 |  |  |  | 206 |  |  |  | 221
190 |  |  |  | 205 |  |  |  | 220
189 |  |  |  | 204 |  |  |  | 219
188 |  |  |  | 203 |  |  |  | 218
187 |  |  |  | 202 |  |  |  | 217
186 |  |  |  | 201 |  |  |  | 216
185 |  |  |  | 200 |  |  |  | 215
184 |  |  |  | 199 |  |  |  | 214
183 |  |  |  | 198 |  |  |  | 213
182 |  |  |  | 197 |  |  |  | 212
181 |  |  |  | 196 |  |  |  | 211
180 | 90- 105+30 | 2100120 | Gaffel 105, tapp 33 | 195 | 120- 105+30 | 2100120 | Gaffel 105, tapp 33 | 210 | 150- 105+30 | 2100120 | Gaffel 105, tapp 33
179 |  |  |  | 194 |  |  |  | 209
178 |  |  |  | 193 |  |  |  | 208
177 |  |  |  | 192 |  |  |  | 207
176 |  |  |  | 191 |  |  |  | 206
175 |  |  |  | 190 |  |  |  | 205
174 |  |  |  | 189 |  |  |  | 204
173 |  |  |  | 188 |  |  |  | 203
172 |  |  |  | 187 |  |  |  | 202
171 |  |  |  | 186 |  |  |  | 201
170 |  |  |  | 185 |  |  |  | 200
169 |  |  |  | 184 |  |  |  | 199
168 |  |  |  | 183 |  |  |  | 198
167 |  |  |  | 182 |  |  |  | 197
166 |  |  |  | 181 |  |  |  | 196
165 | 90-120 | 2100090 | Gaffel 120, hjul 90, tapp 3 | 180 | 120-120 | 2100100 | Gaffel 120, hjul 120, tapp 3 | 195 | 150-120 | 2100110 | Gaffel 120, hjul 150, tapp 3
164 |  |  |  | 179 |  |  |  | 194
163 |  |  |  | 178 |  |  |  | 193
162 |  |  |  | 177 |  |  |  | 192
161 |  |  |  | 176 |  |  |  | 191
160 |  |  |  | 175 |  |  |  | 190
159 |  |  |  | 174 |  |  |  | 189
158 |  |  |  | 173 |  |  |  | 188
157 |  |  |  | 172 |  |  |  | 187
156 |  |  |  | 171 |  |  |  | 186
155 |  |  |  | 170 |  |  |  | 185
154 |  |  |  | 169 |  |  |  | 184
153 |  |  |  | 168 |  |  |  | 183
152 |  |  |  | 167 |  |  |  | 182
151 |  |  |  | 166 |  |  |  | 181
150 | 90-105 | 2100060 | Gaffel 105, hjul 90, tapp 3 | 165 | 120-105 | 2100070 | Gaffel 105, hjul 120, tapp 3 | 180 | 150-105 | 2100080 | Gaffel 105, hjul 150, tapp 3
149 |  |  |  | 164 |  |  |  | 179
148 |  |  |  | 163 |  |  |  | 178
147 |  |  |  | 162 |  |  |  | 177
146 |  |  |  | 161 |  |  |  | 176
145 |  |  |  | 160 |  |  |  | 175
144 |  |  |  | 159 |  |  |  | 174
143 |  |  |  | 158 |  |  |  | 173
142 |  |  |  | 157 |  |  |  | 172
141 |  |  |  | 156 |  |  |  | 171
140 |  |  |  | 155 |  |  |  | 170
139 |  |  |  | 154 |  |  |  | 169
138 |  |  |  | 153 |  |  |  | 168
137 |  |  |  | 152 |  |  |  | 167
136 |  |  |  | 151 |  |  |  | 166
135 | 90-90 | 2100030 | Gaffel 90, hjul 90, tapp 3 | 150 | 120-90 | 2100040 | Gaffel 90, hjul 120, tapp 3 | 165 | 150-90 | 2100050 | Gaffel 90, hjul 150, tapp 3
134 |  |  |  | 149 |  |  |  | 164
133 |  |  |  | 148 |  |  |  | 163
132 |  |  |  | 147 |  |  |  | 162
131 |  |  |  | 146 |  |  |  | 161
130 |  |  |  | 145
129 |  |  |  | 144
128 |  |  |  | 143
127 |  |  |  | 142
125 |  |  |  | 140
124 |  |  |  | 139
123 |  |  |  | 138
122 |  |  |  | 137
121 |  |  |  | 136
120 | 90-75 | 2100010 | Gaffel 75, hjul 90, tapp 3 | 135 | 120-75 | 2100020 | Gaffel 75, hjul 120, tapp 3
119 |  |  |  | 134
118 |  |  |  | 133
117 |  |  |  | 132
116 |  |  |  | 131
115 |  |  |  | 130
220
219
218
217
216
215
214
213
212
211
210 | 120- 120+30 | 2100130 | Gaffel 120, tapp 33
209
208
207
206
205
204
203
202
201
200
199
198
197
196
195 | 120- 105+30 | 2100120 | Gaffel 105, tapp 33
194
193
192
191
190
189
188
187
186
185
184
183
182
181
180 | 120-120 | 2100100 | Gaffel 120, hjul 120, tapp 3
179
178
177
176
175
174
173
172
171
170
169
168
167
166
165 | 120-105 | 2100070 | Gaffel 105, hjul 120, tapp 3
164
163
162
161
160
159
158
157
156
155
154
153
152
151
150 | 120-90 | 2100040 | Gaffel 90, hjul 120, tapp 3
149
148
147
146
145
144
143
142
140
139
138
137
136
135 | 120-75 | 2100020 | Gaffel 75, hjul 120, tapp 3
134
133
132
131
130
235
234
233
232
231
230
229
228
227
226
225 | 150- 120+30 | 2100130 | Gaffel 120, tapp 33
224
223
222
221
220
219
218
217
216
215
214
213
212
211
210 | 150- 105+30 | 2100120 | Gaffel 105, tapp 33
209
208
207
206
205
204
203
202
201
200
199
198
197
196
195 | 150-120 | 2100110 | Gaffel 120, hjul 150, tapp 3
194
193
192
191
190
189
188
187
186
185
184
183
182
181
180 | 150-105 | 2100080 | Gaffel 105, hjul 150, tapp 3
179
178
177
176
175
174
173
172
171
170
169
168
167
166
165 | 150-90 | 2100050 | Gaffel 90, hjul 150, tapp 3
164
163
162
161